{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":13,"n_cols":13,"rows_kept":13,"merged":[[0,0,0,12]],"flags":["formulas_cached_only"]}
["高庄镇校园安全督查检查反馈问题一览表"]
["序号","校园名称","校园安全管理机制建设和落实情况","校园三防建设","校舍安全","交通安全","消防安全","食品卫生\n安全","危化品、易燃易爆品管理","安全教育\n应急演练","集体活动安全","校园周边治理","备注"]
[1,"阜西幼儿园","校园安全责任不明确、未落实到人",null,null,"跟车上下学人数无记录","消防器材有过期的，安全标志不规范。电动车在园内操场违规充电。电路控制箱门未上锁。教室、厨房线路不规范，插板打火。",null,"厨房使用液化气罐，无检测、检查或灌装记录，且与火源临近放置"]
[2,"启智星幼儿园","应急预案不详细，操作性不强\n",null,null,"校车跟车记录、消杀记录不全","校室及厨房内线路不规范，插板要更换","厨房垃圾桶无盖，油污清理不及时",{"$nulls":4},"\n"]
[3,"新世纪幼儿园","应急预案不规范",{"$nulls":3},"安全隐患排查表填写不规范。用电线路不规范"]
[4,"新城双语幼儿园","应急预案不规范",null,"学校自查报告不真实、存在提前填写","园长与教师跟车记录未分开","线路插板不规范","灭蝇灯未正常使用"]
[5,"小树苗幼儿园",{"$nulls":4},"厨房插板进水漏电，开关不规范","上次饮食无留样"]
[6,"童心幼儿园",null,null,"三楼居住区域的楼梯未封闭，未与幼儿园隔离，存在较大安全隐患",null,"用电线路不规范，开关需要换空开并上锁。","食堂灭蚊灯未使用",{"$nulls":4},"安全生产相关资料整理规范、分类明确，各项隐患排查制度落实较好"]
[7,"春芽幼儿园","校园安全责任不明确、未落实到人","校园门卫检查时不在岗、监控未开，监控有盲区（门口及门口广场无监控）",null,null,"安全通道标志不规范，数量不足。线路不规范、插板过热","1.厨房灭蝇灯未开，有苍蝇；2.早餐未留样",null,"演练资料未能体现日期"]
[8,"木匠张小学","应急预案不规范",{"$nulls":3},"消防栓出水压力不足。使用已禁止的电线进行临时作业"]
[9,"阜下小学","应急预案不规范",{"$nulls":3},"灭火器材安全检查无记录",null,"厨房使用液化气罐，无检测、检查或灌装记录","安全演练及教育资料未分类、不规范"]
[10,"高庄中学","安全隐患整改记录不完善、无复查",null,"两座教学楼楼体有裂缝，疑似危楼，存在较大安全隐患","学生有骑电动车上学情况",null,null,"厨房燃料使用甲醇，无检测、检查或灌装记录"]
[11,"黄冈中学","校园安全责任不明确、未落实到人。安全隐患整改记录不完善、无复查",{"$nulls":3},"消防栓内置消防水带缠绕不规范。厨房个别电线插板装置不规范"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}